## Slide 2
Final Year Project-I
(Final Evaluation)

## Slide 3: Smart Baby Incubator
Project Group Members:
Wadood Bin Habib 16F-8363
M . Usama Atta 16F-8390
Hassan Mansoor 16F-8399
Project Supervisor:
Dr . Syed Ali Mohsin
Co-Supervisor:
Engr . Umar Farooq

## Slide 4
Table of Contents:
Problem Statement
Literature Review
Proposed Work
Methodology
Software and Hardware
Work Breakdown Structure
Results

## Slide 5
Problem Statement:
To implement current technologies in order to automate the temperate, humidity and light intensity on moderate levels for premature babies. Can it protect incubator from fire and continuously monitor baby’s heartbeat?

## Slide 6
Literature Review:
Learned terminology from the Past Research Papers.
Remote Monitoring of a Premature Infants Incubator (2020)
  ThingSpeak, humidity control
Intelligent baby incubator (2018)
  ESP8266, IoT modules
System for remote monitoring and control of baby incubator and warmer (2016)
  Remote monitoring
Temperature monitoring system for infants incubator using Arduino (2015)
  Temperature controlling and Monitoring

## Slide 7
Individual Block Diagram’s of Proposed Work :

## Slide 8: Continue….

## Slide 9
Block Diagram of Main Modules:

## Slide 10
Flow Chart of Main Process:

## Slide 11
Continue….

## Slide 12: Methodology:
There Six main processes in their flow chat to achieve these requirements are Given bellow:
Adjust the baud for serial data transmission rate and com port.
Established connection.
Sensors measured reading send to Arduino board.
Arduino board read the data sent by sensors.
After reading the Sensors data and Processing these values. Arduino displays the output on the LCD Display Screen.
Then Arduino Board Actuates the Actuators accordingly.
Arduino Board is also connected to the NodeMCU that Sends Data Online to Thingspeaks.

## Slide 13: Software and Hardware Implementation:
Hardware:
Arduino UNO
NodeMCU
Temperature and humidity sensor (DHT22)
Heartbeat sensor
Flame sensor
Light Intensity sensor
LCD display
Actuators
Alarm

## Slide 14
Proteus Design Suite
Arduino IDE
Software:

## Slide 15: Results:
DHT11 Sensor with Arduino:

## Slide 16
Heartbeat sensor with Arduino:

## Slide 17
Flame sensor with Arduino:

## Slide 18
Complete Circuit with Output:

## Slide 19
Budget:

## Slide 20
References:
[1]https://www.researchgate.net/profile/Ali_AlAskery/publication/337186781_Remote_monitoring_of_a_premature_infants_incubator/links/5dca99cd45851514350413ee/Remote-monitoring-of-a-premature-infants-incubator.pdf
[2]https://www.researchgate.net/profile/Divyang_Vyas/publication/315684007_System_for_Remote_Monitoring_and_Control_of_Baby_Incubator_and_Warmer/links/58db4bb8aca272d801128759/System-for-Remote-Monitoring-and-Control-of-Baby-Incubator-and-Warmer.pdf
[3]https://www.researchgate.net/profile/Fazle_Elahi/publication/269763840_Low_Cost_Neonatal_Incubator_with_Smart_Control_System/links/5495dc8f0cf20f487d2f585d.pdf
[4]https://pdfs.semanticscholar.org/7678/9281bb16086208feadd5ed0bf43366d22b9a.pdf

## Slide 21
Continued…..
[5] https://ieeexplore.ieee.org/abstract/document/8474763

## Slide 22: Thanks!